## ud_pole_structure
columnDescription | Unit of measure | RAMM prompt | Further comments
Age | yrs | Asset Age in RAMM is calculated by subtracting the Installation Date from today?s date. Asset Age is used in Asset Valuation. Using deterioration modelling, the dbo.pcurrent() Asset Condition (and value) can be determined based on Asset Age.
Asset Design Life | year | Expected life of surface at the time of design and is site specific. | Defaulted to 50 years for street light poles.
Asset ID |  | Every Custom Asset requires a uniqe identifier so that it is distinguishable from all other Assets | ONLY USE WHEN YOU'RE EDITING OR DELETING DATA; NOT REQUIRED FOR NEWLY ADDED DATA. If editing/deleting, enter each pole's unique system reference number. If the street light you're amending has multiple outreaches to one pole, please duplicate the pole's whole row for each outreach (in this case the asset ID would be the same for those duplications as well).
Asset Status |  | Lifecycle Status of the Asset | Defaulted to 'In Use'.
Attachment |  | Pole Attachment Code | Asset attached to pole that is not street light, e.g. flag attachments or traffic monitoring devices. Please note nothing should be mounted on a street light pole unless pre-approved by QLDC. This field may have been removed.
Base Connection |  | Base connection used | If foundation type is 'Ground planted stub', this needs to be filled out.
Base Dimension | mm | Pole maximum dimension at base, dia. if round or multi-sided
Coating System |  | The Coating on the material used for Pole. | Pick corresponding from drop-down list. If the pole is only galvanised/ungalvanised, pick 'Not coated' unless it has a 'Galvanised AND epoxy coating'.
Condition |  | The Condition of an Asset describes its fitness or readiness for use. Typical RAMM Condition values are Excellent, Good, Average, Poor and Very Poor. Assessment Condition Weighting is used to determine the Risk and Consequences of Failure. | Defaulted to 'Excellent'.
Condition Date |  | The date the Condition of the Asset was established is used in Asset Valuation. Asset Condition deteriorates over time. Using deterioration modelling, the dbo.pcurrent() Asset Condition (and value) can be determined based on the Condition Date. | Defaulted to 'Install Date'.
Date Last Tightened |  | Date when the bolts were last tightened | If foundation type is 'Ground planted stub', this needs to be filled out.
Earthing Type |  | Earthing Type (Driven Earth Rod, Bonded to Earth Mat, Connected to Conductor)
Easting |  | NZTM2000 Easting
Foundation Type |  | Type of foundation used
Ground Height | m | Height (from the ground) to the top of the pole structure from the ground (in metres to one decimal point). | See illustration for different height definitions in the Storymap.
Install Date |  | The date the asset was installed
Link Reference |  | Link Reference used to identify the Parent / Child relationship of assets during data import eg Pole the Luminaire is attached to.
Managed By |  | The entity that manages the asset, on behalf of the owner | Defaulted to Queenstown-Lakes District Council
MEN Location |  | Description of the Contact or Location for a Remote MEN Point
MEN Point |  | Multiple Earth Neutral Point
NLTP Funded? |  | Is the maintenance of this asset at least partly funded by the National Land Transport Programme (NLTP) administered by Waka Kotahi? | Defaulted to TRUE.
Northing |  | NZTM2000 Northing
Notes |  | Notes which are added at the time of Asset and parameter creation or editing can be very useful at a later date. Notes can help if you have forgotten why you did something or if another user needs to understand your reasoning and purpose. | Please keep relevant and precise and only enter if really needed.
Original Cost |  | Original cost of installing or constructing this asset
Owned By |  | The entity that owns the asset | Defaulted to Queenstown-Lakes District Council
Placement |  | What is the asset inside of or on/attached to? e.g. attached to a pole or located inside pavement. | Usually 'In Ground' for street light poles, but please check if differs and it's attached to a structure for example.
Pole Colour |  | The colour of the asset
Pole Make |  | Pole Make
Pole Model |  | Pole Model
Pole Shape |  | The pole shape code.
Pole Type |  | Type of Pole | See drop-down list. Use basic sign post for any type of small pole (less than 3-4m) designed to support a standard sized sign.
Primary Function |  | Primary function of the Pole. | For a street light pole, this would usually be "Lighting Unit Support" but feel free to double-check in the drop-down list whether another description fits better.
Primary Material |  | Material used to make Pole. | What material is the pole made of. Examples: Aluminium, Concrete, Fibreglass, Steel, Wood, Plastic.
Removal Date |  | Removal Date specifies the date when an Asset/Component was removed. They are used for statistical, financial and warranty reporting purposes. | Please do not change if adding in new assets.
Removal Reason |  | Removal Reason codes are for Assets where removal records are maintained. They specify the reason for removing an Asset/Component and are user-configurable. They are used for statistical, financial and warranty reporting purposes. | Please do not change if adding in new assets.
Requires Structural Inspection |  | Does it require structural inspection? | Defaulted to FALSE.
Road |  | All standard RAMM items and almost all user-defined items are located on a Road. Most RAMM functions are Road-centric.
Street Light Pole No |  | Street Light Pole No | All poles must have a label with a unique pole number, usually a 5-digit number. This can be obtained from the QLDC street lighting contractor. Ensure that the number entered here matches the correct pole on site and on the plans.
Sub-Organisation |  | What department or group within the road controlling authority owns the asset? E.g. Parks and Recreation, Property, Housing. | Please use QLDC S/L (Wakatipu) or QLDC S/L (Wanaka) for roading owned either in Wakatipu area or Wanaka area. Or use QLDC Reserves (Wakatipu) or QLDC Reserves (Wanaka) for parks owned and/or amenity lighting either in Wakatipu area or Wanaka area.
Use Height | m | Height (from the ground) of the highest point for mounting devices such as lights or signs etc. In metres to one decimal point). | See illustration for different height definitions in the Storymap.
Vertical Position (Z) |  | NZVD2016 Vertical Position
Well-known Text (WKT) geometry |  | Well-known Text (WKT) geometry in NZTM
Work Origin |  | A combination of activity class and work category | Defaulted to 'Vested assets".

## ud_outreach
columnDescription | Unit of measure | RAMM prompt | Further comments
Age | yrs | Asset Age in RAMM is calculated by subtracting the Installation Date from today?s date. Asset Age is used in Asset Valuation. Using deterioration modelling, the dbo.pcurrent() Asset Condition (and value) can be determined based on Asset Age.
Asset Design Life | year | Expected life of asset at the time of design | Defaulted to 50 years for street light poles.
Asset ID |  | Every Custom Asset requires a uniqe identifier so that it is distinguishable from all other Assets | ONLY USE WHEN YOU'RE EDITING OR DELETING DATA; NOT REQUIRED FOR NEWLY ADDED DATA. If editing/deleting, enter each outreach's unique system reference number. If the street light you're amending has multiple luminaires, please duplicate the outreach's whole row for each luminaire (in this case the asset ID would be the same for those duplications as well).
Asset Status |  | Lifecycle Status of the Asset
Coating |  | Coating for Bracket
Colour |  | The colour of the bracket
Condition |  | The Condition of an Asset describes its fitness or readiness for use. Typical RAMM Condition values are Excellent, Good, Average, Poor and Very Poor. Assessment Condition Weighting is used to determine the Risk and Consequences of Failure.
Condition Date |  | The date the Condition of the Asset was established is used in Asset Valuation. Asset Condition deteriorates over time. Using deterioration modelling, the dbo.pcurrent() Asset Condition (and value) can be determined based on the Condition Date.
Easting |  | NZTM2000 Easting
Install Date |  | The date the asset was installed
Link Reference |  | Link Reference used to identify the Parent / Child relationship of assets during data import eg Pole the Luminaire is attached to.
Managed By |  | The entity that manages the asset, on behalf of the owner
NLTP Funded? |  | Is the maintenance of this asset at least partly funded by the National Land Transport Programme (NLTP) administered by Waka Kotahi?
Northing |  | NZTM2000 Northing
Notes |  | Notes which are added at the time of Asset and parameter creation or editing can be very useful at a later date. Notes can help if you have forgotten why you did something or if another user needs to understand your reasoning and purpose.
Original Cost |  | Original cost of installing or constructing this asset
Outreach Length | m | The length of the outreach from one end to the other.
Outreach Type |  | The type of outreach. | What type of outreach is it? This includes the number of arms if one component and their type.
Owned By |  | The organisation that owns the asset.
Parent Table |  | Table name of linked asset eg ud_pole_structure
Placement |  | What is the asset inside of or on/attached to? e.g. attached to a pole or located inside pavement.
Removal Date |  | Removal Date specifies the date when an Asset/Component was removed. They are used for statistical, financial and warranty reporting purposes.
Removal Reason |  | Removal Reason codes are for Assets where removal records are maintained. They specify the reason for removing an Asset/Component and are user-configurable. They are used for statistical, financial and warranty reporting purposes.
Requires Structural Inspection |  | Does the asset require a structural inspection? | Defaulted to FALSE.
Road |  | All standard RAMM items and almost all user-defined items are located on a Road. Most RAMM functions are Road-centric.
Sub-Organisation |  | What department or group within the road controlling authority owns the asset? E.g. Parks and Recreation, Property, Housing.
Use Height | m | Height (from the ground) where the outreach is mounted to. (In metres to one decimal point). | See illustration for different height definitions in the Storymap.
Vertical Position (Z) |  | NZVD2016 Vertical Position
Well-known Text (WKT) geometry |  | Well-known Text (WKT) geometry in NZTM
Work Origin |  | A combination of activity class and work category | Defaulted to 'Vested assets".

## ud_luminaire
columnDescription | Unit of measure | RAMM prompt | Further comments
Age | yrs | Asset Age in RAMM is calculated by subtracting the Installation Date from today?s date. Asset Age is used in Asset Valuation. Using deterioration modelling, the dbo.pcurrent() Asset Condition (and value) can be determined based on Asset Age.
Asset Design Life | year | Expected life of asset at the time of design
Asset ID |  | Every Custom Asset requires a uniqe identifier so that it is distinguishable from all other Assets
Asset Status |  | Lifecycle Status of the Asset
Asset Type MEP |  | The type of mechanical or electrical plant.
Ballast or Driver Location | See comments in Entry spreadsheet in Teams | Ballast or Driver Location
Body Colour |  | Luminaire Body Colour. 24 ASCII Character String. As per DiiA Specification.
Colour Rendering Index (CRI) |  | Colour Rendering Index (CRI)
Condition |  | The Condition of an Asset describes its fitness or readiness for use. Typical RAMM Condition values are Excellent, Good, Average, Poor and Very Poor. Assessment Condition Weighting is used to determine the Risk and Consequences of Failure.
Condition Date |  | The date the Condition of the Asset was established is used in Asset Valuation. Asset Condition deteriorates over time. Using deterioration modelling, the dbo.pcurrent() Asset Condition (and value) can be determined based on the Condition Date.
Control Method |  | How the luminaire is switched on
Correlated Colour Temp (CCT) | K | What is the Correlated Color Temperature (CCT). This is essentially a measure of how yellow or blue the color of light emitted from a light bulb appears. As per DiiA Specification.
Description |  | Location of supply point for the light unit
Driver Current | mA | Driver Current
Easting |  | NZTM2000 Easting
Facility Type |  | The type of site that this asset supports the function of, e.g. an electronic sign might support the function of a tunnel but actually be located outside of it.
Gear Wattage | watts | Nominal gear wattage, including ballast and drivers.
Has another Functional System? |  | Does this asset support the operation of multiple systems or services?
ICP Group/Standalone |  | Is the ICP Number for a group or standalone/individual connection?
ICP Number |  | Unique Installation Control Point (ICP) number that identifies it as an individual power connection.
ICP Number Group |  | Unique Installation Control Point (ICP) number for power connection that is shared by multiple assets.
Identification |  | Luminaire Identification. 60 ASCII Characters String. As per DiiA Specification.
Identification Number |  | What is the Luminaire identification number? As per DiiA Specification.
Install Date |  | Installation Date is used with most RAMM Assets but especially for assets such as Street Lights where Installation and Replacement data is critical. Installation Date is also required if there is a manufacturer's warranty for the Asset.
Lamp Make |  | Lamp Make
Lamp Model |  | Lamp Model
Lamp Wattage | watts | Nominal lamp wattage
Last Cleaned |  | Date when the Lens or Diffuser was Last Cleaned
Light Category
Light Distribution Type |  | What is the light distribution type? As per the Illumination Engineering Society of North America (IESNA). Type 1 - 6. As per DiiA Specification.
Light Notes |  | Any general comments about the light
Light Shade |  | Type of Light Shade if installed
Light Source Type |  | The type of a light source relates to the mechanism used to produce light
Light Sub Category
Link Reference |  | Link Reference used to identify the Parent / Child relationship of assets during data import eg Pole the Luminaire is attached to.
Luminaire Mounting Height | m | Height of luminaire above ground
Luminaire System Power | watts | The total power consumption of the luminaire including drivers or ballast
Luminaire Tilt | degrees | How many degrees from horizontal the luminaire is tilted. A positive tilt is upwards.
Make |  | The Light manufacturers code.
Managed By |  | The entity that manages the asset, on behalf of the owner
Manufacturer (GTIN) |  | Luminaire Manufacturer (GTIN) with Manufacturer Specific Prefix. As per DiiA Specification.
Metered? |  | Is the luminaire on a metered power supply?
Model |  | The Light manufacturers model code.
NLTP Funded? |  | Is the maintenance of this asset at least partly funded by the National Land Transport Programme (NLTP) administered by Waka Kotahi?
Nominal Input Power | watts | What is the average power consumed by Luminaire? As per DiiA Specification.
Nominal Light Output | Lm | What is the total amount of visible light produced by the luminaire? As per DiiA Specification.
Nominal Maximum Mains Voltage | V | Nominal maximum wattage of Luminaire on AC Mains. As per DiiA Specification.
Nominal Minimum Mains Voltage | V | Nominal minimum wattage of Luminaire on AC Mains. As per DiiA Specification.
Northing |  | NZTM2000 Northing
Notes |  | Notes which are added at the time of Asset and parameter creation or editing can be very useful at a later date. Notes can help if you have forgotten why you did something or if another user needs to understand your reasoning and purpose.
Number of Lamps or LEDs |  | Either the number of lamps or the number of individual LEDS
Original Cost |  | Original cost of installing or constructing this asset
Other Functional Systems |  | When multiple assets operate together to supply a service, e.g. a battery, sensor, solar panel and electronic sign all working together to operate an Active warning system/service.
Owned By |  | The organisation that owns the asset.
Parent Table |  | Table name of linked asset eg ud_pole_structure
Placement |  | What is the asset inside of or on/attached to? e.g. attached to a pole or located inside pavement.
Power At Minimum Dim Level | watts | What is the power consumed by Luminaire at the lowest possible dim level setting? As per DiiA Specification.
Power Supply Location |  | Identifies the location of power supply.
Primary Functional System |  | The primary system of multiple assets that operate together to supply a service, e.g. a battery, sensor, solar panel and electronic sign all working together to operate an Active warning system/service.
Receptor Other Type |  | Used when there is a different type of socket than on the Receptor type list
Receptor Type |  | What socket if any, the luminaire has installed to it.
Removal Date |  | Removal Date specifies the date when an Asset/Component was removed. They are used for statistical, financial and warranty reporting purposes.
Removal Reason |  | Removal Reason codes are for Assets where removal records are maintained. They specify the reason for removing an Asset/Component and are user-configurable. They are used for statistical, financial and warranty reporting purposes.
Road |  | All standard RAMM items and almost all user-defined items are located on a Road. Most RAMM functions are Road-centric.
Serial Number |  | Identification number showing the position of a printed or manufactured item in a series.
Sub-Organisation |  | What department or group within the road controlling authority owns the asset? E.g. Parks and Recreation, Property, Housing.
Vertical Position (Z) |  | NZVD2016 Vertical Position
Vested or Livened Date
Week Of Manufacture [WW] |  | What week was the luminaire manufactured? As per DiiA Specification.
Well-known Text (WKT) geometry |  | Well-known Text (WKT) geometry in NZTM
Work Origin |  | A combination of activity class and work category
Year Of Manufacture [YY] | year | What year was the luminaire manufactured? As per DiiA Specification.